## Slide 1
ESF II project of the University of West Bohemia in Pilsen
reg. number: CZ.02.2.69/0.0/0.0/18_056/0013239
KEV/EPV

## Slide 2: Outline
AC power supply systems
Ways of power supply
Main electric parts of the vehicles with series motor
Ways of control of series motor at AC traction
Traction rectifier, replacement circuit
Voltage and current waveforms
Schema of the vehicle
Traction characteristics

## Slide 3: AC power supply systems
15 kV 16,7 Hz. Since the beginning of 20th century. Germany, Austria, Switzerland, Norway, Sweden
25 kV 50 Hz (60 Hz). It is considered the most advantageous today. Hungary, part of France, part of the former USSR, India, Pakistan, further lands which started with electrification later (Denmark). In Czech Republic southern main tracks.
Transition between AC and DC systems is provided by dual current vehicles.

## Slide 4: Advantages and disadvantages of AC supply systems
Advantages:
Smaller cross-section of the supply line, lighter conduction
Longer power sections - 40 km against 20 km
Lower losses in supply line (approx. eight times lower current)
Lower number of power stations
Stray currents – at DC systems they cause pipe corrosion
Disadvantages:
Asymmetrical load of superordinate supply system
Each traction vehicle includes traction transformer

## Slide 5: Way of supply at AC system

## Slide 7: Power station Vranov – outer part

## Slide 8: Power station Vranov – transformer

## Slide 9: Transformer label

## Slide 10: Main parts of the AC vehicles with series motors
DC series motor
Transformer with tap control
Uncontrolled rectifier (the most frequent in bridge connection)
smoothing choke

## Slide 11: Voltage control at low voltage side

## Slide 12: Voltage control at high voltage side

## Slide 13: Tap changer of class 242 loco

## Slide 14: Tap changer – rear view

## Slide 15: Selector

## Slide 16: Stykačová část

## Slide 17: Smoothing choke

## Slide 18: Control of series motor at AC system

## Slide 19: Control by shunting

## Slide 20: Replacement circuit

## Slide 21: Powering to the load, commutation

## Slide 22: Course of voltages and currents

## Slide 23: Power diagram of class 64E loco

## Slide 24: Traction characteristics of class 64E loco

## Slide 25
Thank you for your attention.

## Slide 26: Questions
Which AC supply systems do you know?
In which lands these AC systems can be found?
Which are advantages and disadvantages of AC supply systems in comparison with DC systems?
How is provided transition between AC and DC systems?
Which are ways of supply at AC system?
Which are main parts of the AC vehicles with series motors?
Which are two basic ways of voltage control?
Which basic parts the tap changer consist of? Describe its function.
How the series motor at these vehicles is controlled?

## Slide 27
Draw replacement circuit of the drive at these vehicles.
Which are two parts of rectifying of AC voltage are at these vehicles?
Draw a course of voltages and currents at AC as well DC side at these vehicles.
Draw a block diagram of these vehicles.
Draw a traction characteristics of these vehicles.