## Slide 1
ESF II project of the University of West Bohemia in Pilsen
reg. number: CZ.02.2.69/0.0/0.0/18_056/0013239

## Slide 2: Accelerometer – accelerometry
Segment acceleration detection - changes in 3 mutually perpendicular axes
Relatively low price, easy handling
Clinically relevant for the assessment of segment acceleration / deceleration damping.
Unavailable information on the joint position!
Possibility to use signal / data on smartphones
ACC is most often used to evaluate the vertical acceleration of the distal segment of lower extremities when walking - ie pinned to the tibia and shows heelstrike
Use to evaluate paretic upper extremity

## Slide 4: Akcelerometr – akcelerometrie
Condsidering automatic postural reactions, it is possible to evaluate their speed - for example, when underlining the pavement, we evaluate the movement of upper extremities
Based on this, it is possible to determine the extent to which the patient stabilizes by "unnecessary" movement
Example: A patient after TT amputation and a healthy individual

## Slide 5
Healthy one TT amputation

## Slide 6: Akcelerometr – akcelerometrie
Use to evaluate walking. Simple analysis of walking - eg number of steps in time, fluency, we evaluate cyclically recurring activity – regularity
Better multiaxis gyroscope for more accurate analysis

## Slide 7: Akcelerometr – akcelerometrie
Evaluation of the physiotherapy effect in the ACC image
The higher fluidity recorded by the ACC during drinking with water from the glass corresponds to a functional improvement. Is it gonna be different with beer?